U.S. BRIDGE

SUGGESTED SPECIFICATIONS FOR

PREFABRICATED STEEL BRIDGES

- GENERAL

1.1 Definitions

AASHTO:  The American Association of State Highway and Transportation Officials (see their website at www.transportation.org)

Agreement:  The purchase order agreement under which the Owner or Owner’s agent, and the Manufacturer or Manufacturer’s Supplier have contractually agreed to perform and make payment including the general conditions.

Bridge:  The prefabricated steel bridge superstructure supplied to the Contractor or Owner by the supplier and/or manufacturer.  For purposes of these specifications, “Bridge” does not include any abutments, piers, or other substructure components or foundations, nor does it include any part of the roadway to be located directly upon the bridge superstructure.

Calculations:  Documentation related to the analysis, design, and load rating (when requested) in the form of hand computations, computer output, diagrams and summary tables in either hard copy or electronic portable document format (.pdf) files.

Contract Documents:  The documents prepared by the Owner which govern the scope of work, design, manufacturing of the Bridge.

Contractor:  The company responsible for installing the Bridge.

Design Loading:  The specified minimum live loads governing the bridge’s design.

Engineering Drawings:  Drawings prepared by the Manufacturer that represent the intended engineering design including criteria and general notes. These drawings typically depict the Bridge’s framing plan, elevation, member sizes, transverse section(s), end-of-bridge section(s), field assemblies, and installation notes.

Load Rating:  The live load capacity of the Bridge pursuant to Applicable Codes, Standards, and statutes of the state in which the bridge is located.  Load ratings shall be reported as inventory or operating.

LRFD:  Load & Resistance Factor Design

Manufacturer:  The firm responsible for the design, preparation of drawings, fabrication and shipping of the Bridge.

Manufacturer’s Responsibilities:  The work to be performed in accordance with these specifications will consist of timely furnishing of structural steel design, and shop drawings; and manufacture of the Bridge pursuant to the Applicable Codes and Standards, and transportation to the location indicated in the Contract Documents.

Owner: The legal Owner of the installed Bridge.

Owner’s Responsibilities:  The owner will, in a timely way, provide the Bridge Supplier or Manufacturer with approved Contract Documents sufficient in scope to define the requirements to plan, layout, design, and fabricate the Bridge;  provide requirements for shop assembly and shop inspection; provide or approve paint color and finish (gloss); provide or approve a complete list of included and excluded items to be supplied with the Bridge; provide or approve the requirements for submitting Engineering Drawings; and provide adequate and accurate information as to the requirements for delivering the Bridge.

Permanent:  Intended and commonly sold, offered or purchased for use in the original location for more than twenty (20) years.

Shop Drawings:  Drawings prepared by the Manufacturer that represent the intended fabrication of pieces and supplied items.  These drawings include instructions for forming, fabricating, connecting and finishing the pieces, in the form of labels, symbols, notes, and dimensions.

Station:  An increasing increment along the roadway centerline that defines the orientation of the bridge with respect to beginning and end and left and right of the project.  Stations may be surveyed or arbitrarily set depending on the complexity of the project.  Upstation is forward and toward the end of the project.  Downstation is rearward and toward the beginning of the project.  Left and right are oriented while looking upstation.

Supplier:  An agent for the manufacturer, engaged by agreement to promote and sell bridges made by the manufacturer and to represent the Manufacturer during all activities from the pre-bid phase through construction.

Supplier’s Responsibilities:  The Supplier will convey all documents to- and all approval actions from the Owner, as described above, to the Manufacturer in an expeditious and timely manner.  The Supplier will also work to communicate any changes or changed conditions by the Owner, to the Manufacturer, and any questions or clarifications from the Manufacturer to the Owner, in an expeditious and timely manner.

Timely:  In compliance with the time parameters of the agreement.

Variable-Span:  Truss bridge or bridges capable of being reconfigured into one or more additional spans as separate bridges using originally supplied members.

  - Manufacturer’s Qualifications

AISC Certification:  The Manufacturer shall be an approved steel fabricator under the AISC Quality Management System Certification Program as an Advanced Steel Bridge Fabricator including Fracture Critical and Sophisticated Paint System endorsements, for a period of at least five (5) continuous years immediately preceding the bid opening.

SSPC Qualifications:  The Manufacturer shall employ painters trained and certified under the Structural Steel Paint Council, SSPC QP3 Standard Procedure for Evaluating Qualifications of Shop Painting Applicators and familiar with material safety data sheets (MSDS), product data sheets, painting tools and equipment and quality procedures.

Experience:  The Manufacturer shall have designed and manufactured at least ten (10) permanent premanufactured steel truss or rolled beam bridges of approximately the same size and configuration as the proposed Bridge during a period of not more than five (5) continuous years immediately preceding the bid opening.  The Manufacturer shall also have experience designing and manufacturing bridges with all-bolted component connections using Computer Numerically Controlled (CNC) drilling equipment and shop bolting operations.

Pre-Bid Representative:  The Manufacturer shall assign a local Pre-Bid Representative for the purposes of attending pre-bid meetings and pre-construction conferences.  This representative shall be available to assist in defining the engineering scope of services and planned construction activities along with coordinating information during the pre-bid phase.

1.3 Pre-Approved Manufacturers

The Owner has pre-approved the following manufacturers as possessing the requisite qualifications to timely and properly design and manufacture the Bridge.

U.S. Bridge

201 Wheeling Avenue

P.O. Box 757

Cambridge, Ohio  43725

(740) 432-6334

www.usbridge.com

All other prospective manufacturers, not pre-approved by the Owner are required to submit a signed application with the following documentation supporting their ability to meet the above referenced qualifications no less than twenty (20) business days prior to bid opening:

- Copy of current AISC certifications as described above.

- Copy of Quality Assurance Programs.

- Splicing and erection procedures.

- Approved welding process procedures.

- The name and qualifications of the Manufacturer’s representative designated to represent the Manufacturer for all pre-bid activities.

- The name and qualifications of the Technical Assistant that will conduct on-site assistance during field installation of the Bridge until secure and stable.

- If any part of the Bridge is to be galvanized, a copy of the written warranty issued by the galvanizer that warrants against corrosion of the superstructure (other than bridge flooring) for a period of not less than 35 years.

- List ten (10) permanent steel bridges similar in size and configuration to the Bridge, which the applicant has manufactured in the preceding five (5) years, together with drawings, calculations, project details and contact information.

- Complete list of plant, equipment, employees and others to be used by the applicant to design and manufacture the Bridge including copies of all Professional Engineering licenses for designers and welding certificates for welders.

Notification:  The Owner will evaluate and verify the accuracy of the submittal and notify the prospective Manufacturer at least five (5) business days prior to bid opening whether the prospective Manufacturer meets the requisite qualifications.  If the Owner determines that the requisite qualifications do not exist, the Manufacturer’s bid shall not be eligible for consideration.  The Owner will notify rejected bidders of the decision.  The Owner’s decision shall be final.

  - Bid Phase Activities

Pre-bid Meeting:  The Owner will hold a mandatory pre-bid meeting ____ weeks before the advertised bid date.  All prequalified general contractors and prefabricators are required to attend this meeting.

Pre-bid Questions:  Pre-bid questions may be submitted ____ week(s) in advance of the advertised bid date.  Pre-bid questions must be submitted via e-mail or fax.  They will be answered in written form to all plan holders as, either as a clarification or an addendum.

- APPLICABLE CODES AND STANDARDS

  - Governing Codes and Standards

    - The Bridge shall be designed in accordance with current, recognized and accepted specifications for bridge design and construction, including all interims, and as stipulated by the Owner below.  Currently, within the United States, the American Association of State Highway and Transportation Officials (AASHTO) publishes two sets of bridge design and construction specifications: the 1) Standard Specifications for Highway Bridges, 17th Edition (2002), Division I & II and AASHTO LRFD Bridge Design Specifications for Highway Bridges, 5th Edition (2010) and 2) AASHTO LRFD Bridge Construction Specifications 3rd Edition (2010).  The Specifier shall select the governing code in Section 4.2.

    - Additionally, a live load basis such as HL93 (AASHTO LRFD), or HS20 (AASHTO Std. Spec.) shall also be specified by the Owner.  The Owner’s designation of the specification should be consistent in its application to other parts of the project such as the substructure and foundations.  The Specifier shall select the governing live load in Section 4.3.

  - Reference Codes and Standards

    - American Institute of Steel Construction (AISC), Steel Construction Manual, Thirteenth Edition.

    - ANSI/AF&PA National Design Specification (NDS) for Wood Construction 2005 Edition.

    - American Welding Society (AWS) D1.5 Bridge Welding Code (Use AWS D1.1 for welding not covered in AWS D1.5).

    - Research Council on Structural Connections (RCSC) Specifications for Structural Joint Using A325 or A490 Bolts (2004).

    - AASHTO/NSBA S2.1 Steel Bridge Fabrication Guide Specifications, 2nd Edition.

- BRIDGE CHARACTERISTICS (Specifier define, select or delete these sections)

  - Span(s):  The Bridge shall be composed of the following number of spans and span lengths.  Span shall mean the center-to-center distance between bearing centerlines of the primary members.

span(s)

c/c bearings  (e.g. 60’-130’-60’)

Additionally, the bridge shall be capable of re-configurations into smaller span groups based on the panel spacings of the supplied span and the addition of corresponding accessories such as end posts and bearings.

  - Width:  The proposed width shall be the clear roadway width between bridge railings or curb elements shall be:

ft.	( curb/curb - or - ( rail/rail - or - ( curb/rail

  - Skew:  The Bridge shall be oriented to form a skew as defined below.  The superstructure’s skew shall be defined as the angle, in degrees, measured from a lateral line from the bridge’s longitudinal axis, to the substructure’s  bearing centerlines, either right or left forward (upstation).

deg.	( left-forward (LF) - or - ( right-forward (RF)

  - Finish:  The finished surface of the fabricated  steel shall be:  Specifier select one:

| ( | hot-dip galvanized zinc |
| --- | --- |
| ( | weathering steel |
| ( | paint: owner approved paint system |
| ( | duplex system: paint over galvanizing |
| ( | hot-dip galvanized zinc floor framing & weathering steel trusses |

  - Waterproofing: A waterproofing geo-composite membrane shall be used to protect the bridge’s superstructure steel from water and chloride intrusion and to reduce reflective cracking of asphalt paving layers.

  - Wearing Surface: The wearing surface shall be: Specifier select one:

| ( | concrete with broomed finish |
| --- | --- |
| ( | concrete with tine-rake finish |
| ( | concrete with diamond-saw grooves |
| ( | asphalt paving |

The crown of the wearing surface shall be at a ¼” per ft. cross slope in each direction, unless otherwise specified.

  - Flooring/Deck:  The bridge shall utilize the following floor system:  Specifier select one:

| ( | galvanized corrugated steel deck with asphalt wearing surface |
| --- | --- |
| ( | galvanized corrugated steel deck with reinforced concrete deck (single layer) |
| ( | galvanized corrugated steel deck with concrete fill & asphalt wearing surface |
| ( | reinforced concrete deck with stay-in-place forms (double layer) |
| ( | reinforced concrete deck with removable forms (double layer) |
| ( | precast concrete forms & topping slab |
| ( | precast concrete planks |
| ( | nail-laminated timber flooring (long side vertical) |
| ( | timber plank flooring (long side horizontal) |
| ( | open-grid steel deck; depth = |

  - Bridge Railings:  The bridge shall utilize the following railing system:  Specifier select one:

Traffic Railings:

| ( | Concrete Safety Shaped Parapet |
| --- | --- |
| ( | Concrete Curb Mounted Post & Rail |
| ( | Concrete Top Side-Mounted Post & Rail |
| ( | Concrete Slab Side-Mounted Post & Rail |
| ( | Truss Mounted Single W-Beam Guardrail with Tube Backup |
| ( | Truss Mounted Thrie-Beam Guardrail with Tube Backup |
| ( | Truss Mounted Twin Steel Tubular Rail |
| ( | Truss Mounted Single W-Beam Guardrail |
| ( | Truss Mounted Thrie-Beam Guardrail |
| ( | Truss Mounted Bracket & Rail |
| ( | Stringer Supported Post & Rail |
| ( | Stringer Supported Twin Steel Tubular Rail |
| ( | Timber Railing |
| ( | Other: |

Pedestrian Railings:

| ( | Timber Hand Rails with Horizontal Steel Elements |
| --- | --- |
| ( | Timber Hand Rails with Vertical Steel Pickets |
| ( | Tubular Steel Hand Rails with Horizontal Steel Elements |
| ( | Tubular Steel Hand Rails with Vertical Steel Pickets |
| ( | Other: |
| ( | Railing Finish (if other than bridge): |

The Owner shall be responsible for designing and completing the connection of the bridge railing to any approach railings or terminations, unless otherwise specified in the Agreement.

  - Bearings: The bridge shall utilize the following bridge bearings:  Specifier select one:

| ( | Steel on Steel Base & Load Plates |
| --- | --- |
| ( | Cotton Duck Pads (PTFE & Stainless Steel) on Steel Base & Load Plates |
| ( | Laminated Elastomeric Bearing Pads beneath Load Plates |
| ( | Laminated Elastomeric Bearing Pads (with Steel Base and Load Plates |
| ( | Plain Elastomeric Bearing Pads beneath Load Plates |

  - Expansion Joints: The bridge shall utilize the following expansion joint:  Specifier select one:

| ( | Steel Backwall Plate |
| --- | --- |
| ( | Sliding Angle on Backwall Angle |
| ( | Sliding Plate on Backwall Angle |
| ( | Neoprene Strip Seal |
| ( | Neoprene Compression Seal |
| ( | Polymer Modified Asphalt (Plug) Expansion Joint |
| ( | Steel channel gutters (attached to backwall) |

  - Fencing:  Security fencing with a minimum opening size of ____” and shall be Specifier select one:

| ( | Chain link (galvanized) |
| --- | --- |
| ( | Chain link (vinyl coated) |
| ( | Architectural grade, anti-climb (vinyl coated) |

and shall be straight or J-shaped as is applicable for either roadway or sidewalk, and as shown in the Contract Documents.

  - Bridge Style in Section:

Half Through-Truss: The truss design shall be a welded or bolted half through-truss (a.k.a. pony truss), manufactured by U.S. Bridge and as further described in these specifications.  The cross section shall resemble the following diagram:

  - Bridge Style in Elevation:

Cambridge:  The truss design shall be a welded or bolted Warren Truss configured in the Cambridge style as manufactured by U.S. Bridge and as further described in these specifications.  The trusses shall resemble the following diagram:

The trusses shall each have a polygonal top chord, two diagonal members in each truss panel, and a vertical member at each interior bottom chord panel point.  The bottom (tension) chord of each truss shall consist of two equal-sized members with adequate section properties to provide redundancy.

  - Bridge Style - Truss Connections:

Bolted Double Gusset Plate Connections: The truss girders shall be designed using gusset plates on each side of the chord member and high strength structural fasteners (bolts) to connect web (diagonal and vertical) members to the chord members.  Shim or fill plates shall be used where web members do not dimensionally fit up with the larger chord members.  Shop welding on truss members is prohibited.

- ENGINEERING

  - Licensure:  The engineering design of the Bridge shall be performed by, or under the direct supervision of a Licensed Professional Engineer in the State in which the Bridge will be erected.  The design shall be completed in accordance with recognized engineering principles and design practices and with a standard of care commensurate with the Manufacturer’s role in the project.

  - Design Specification: The Bridge shall be designed in accordance with: Specifier select one:

| ( | AASHTO LRFD Bridge Design Specifications 5th Edition (2010) including all interims |
| --- | --- |
| ( | AASHTO Standard Specifications for Highway Bridges, 17th Edition (2002), Division I including all interims |
| ( | AASHTO LRFD Guide Specifications for the Design of Pedestrian Bridges, December 2009 |
| ( | Other: _______________________________________________________ |

Additionally, the live load shall be specified as: Specifier select all that apply:

| ( | HL93 (AASHTO LRFD) |
| --- | --- |
| ( | HS20 (AASHTO Std. Spec.) |
| ( | HS25 (125% of HS20) |
| ( | Pedestrian Live Load of 90 psf (sidewalks and pedestrian bridges) |
| ( | Other: ________________ (list special design vehicles below) |
|  | ________________ |
|  | ________________ |

  - Analysis: The structural analysis for the Bridge shall include, at a minimum, a two dimensional analysis for gravity dead loads and moving live (truck) loads on transverse and longitudinal members, as applicable.  Location of axle loads, lane loads, wheel loads; and the distribution of wheel loads shall be applied as such to produce the maximum stress (or applied force) in the member or members under consideration.

Due to their configuration, a U-frame analysis is required for half-through trusses, to confirm the top chord’s stability by computing the relative stiffness of the Bridge’s cross sectional members to determine the resistance of the top chord members to buckling. The analysis shall follow E. C. Holt, Jr. and R. M. Barnoff’s research performed for the Column Research Council, (1950-1957).

  - Bridge Information Model (BriM):  The Manufacturer shall utilize three-dimensional CAD software with integrated model-data-CNC file transfer of the Bridge components and assemblies to prepare Engineering and Shop Drawings.  This is to promote efficiency during plan development and to improve quality of the delivered Bridge order.

  - Load Rating:  A load rating of the Bridge’s superstructure shall be supplied to the Owner upon written request, after the bridge’s fabrication is complete.  Requirements for the Load Rating shall be conveyed to the Manufacturer at the time of request.

  - Loads & Load Combinations:  All applicable dead and live loads shall be applied and combined as specified in the Design Specification.  A future wearing surface of 35 psf shall be applied as a dead load in anticipation of possible future paving overlays.  Longitudinal forces from thermal expansion and contraction, and vehicles; along with lateral forces from wind, flood or seismic events shall be computed and combined as applicable and in accordance with the Design Specification.

  - Gusset Plates: Gusset plates shall be adequately designed to transfer member forces in accordance with governing sections of the Design Specifications and FHWA Publication Number IF-09-014. All gusset plates shall have 1” radiused corners, except for the lower corners aligned toward the mid-line of the bridge.  They shall be square to aid their orientation during assembly.

  - Camber & Deflection:  Calculation of the Bridge’s dead and live load deflection is required.  Live load deflection of the primary members should be limited to the span-to-deflection ratio of L/600 unless otherwise specified.  Dead load deflection shall be accommodated by forming camber into the unloaded geometry of the members.  Profile grade curvature shall also be taken into account when determining the fabricated (or induced) camber of the members.  No camber adjustment is required for spans of less than 50 ft., except that they be fabricated with their natural mill camber as “up”.

Sag, an inherent characteristic of pin-connected structures that contributes to a structure’s total deflection, is due to pin and pin-hole clearance.  Sag is undesirable and prohibited.  Bidders with panel bridge types that sag shall be considered unresponsive and their bids will be disqualified.

  - Concrete Deck Slab:  The concrete deck slab shall be designed in accordance with the Design Specification and Specifier list other design references here: ____________ ,  Specifier select one: ( by the bridge manufacturer, ( by the owner or owner’s agent.

  - Railings: Railings shall be designed to provide a continuous, snag-free alignment along the bridge’s edge of roadway.  Additionally they shall transition smoothly to a ground mounted railing system eventually terminating as directed or planned by the Owner, unless otherwise stipulated in the Agreement.  The railing system shall be designed to meet the dimensional requirements of the Design Specification and to resist vehicular impact loads in accordance with the Design Specification:

| ( | TL1 (AASHTO LRFD) |
| --- | --- |
| ( | TL2 (AASHTO LRFD) |
| ( | TL3 (AASHTO LRFD) |
| ( | TL4 (AASHTO LRFD) |
| ( | 10 kip (AASHTO Std. Spec.) |
| ( | Other: |

Bicycle and pedestrian rails for sidewalks shall be designed for the dimensional and load requirements of the selected Design Specification.

  - Connection Method: Bolted steel connections of truss components and gusset plates provide a greater level of internal redundancy than welded connections.  These connections shall be utilized within the design and fabrication process

  - Drawing Submittals:  The Manufacturer shall design the prefabricated bridge(s) and prepare Drawings in accordance with the following minimum requirements.  Engineering Drawings and Calculations, sealed by a Registered Professional Engineer in the state where the Bridge is to be erected, will be submitted to the Owner for Approval within _____ weeks of receipt of the Purchase Order, contingent upon receiving all scope information at the time of purchase order; and after receiving answers to requests for information (RFI).  Shop Drawings will be supplied to the Owner upon written request.

Unless otherwise requested, an electronic version of the Shop Drawings will be submitted in portable document format (.PDF) via email to the Owner or the Owner’s designated contact.  After final approval by the Owner, the Manufacturer shall provide the Owner with two 24” x 36” paper copies of the Engineering Drawings.  ____ sets of the As-Fabricated Drawings (11” x 17”) shall be transmitted to the Contractor at the time of Bridge Delivery.

- MATERIALS & COMPONENTS (Specifier define, select or delete these sections)

  - Steel:  Members for vehicular bridges shall be fabricated from domestically produced, wide flange beam and/or channel shapes designated ASTM A709 Grade 50 and structural steel plate designated ASTM A709 Grade 50, all provided by an AISC recognized supplier.  When tubular members are needed as secondary members, the shapes shall be designated as ASTM A500 Grade B (46 ksi) and shall also be domestically produced and provided by an AISC recognized supplier.

  - Weathering Steel:  Bridges specified as ‘weathering’ shall be fabricated from rolled beam or wide flange shapes designated ASTM A709 Grade 50W.  Secondary weathering members may be tubular shapes carrying the ASTM A847 (50 ksi) designation; all domestically produced and provided by an AISC recognized supplier.

  - Structural Fasteners:  All bolted connections shall utilize ASTM A-325 High Strength Bolts. All bolts for weathering steel components shall be ASTM A325 Type 3. Galvanized bolts shall be A325 Type 1, hot dip galvanized in accordance with ASTM A-153 specifications.

  - Anchor Bolts:  The anchor bolts supplied with all bridge systems shall be ASTM A449 Full Thread Studs Hot Dip Galvanized as per ASTM A153.  Each anchor bolt shall be provided with one A563 Galvanized Heavy Hex Nut and one F436 Galvanized Flat Washer.

  - Bearings:  This item consists of furnishing and installing bridge bearings in accordance with the Contract Documents, this specification, and the manufacturer’s recommendations. If none is previously determined, the following specifications shall apply and be included into the project:

(  Pre-formed fabric bearing pads shall be made from steel plates on fabric pads and sliding (PTFE) plates as manufactured by Con-Serv Inc. of Georgetown, SC.  The fabric pads shall be composed of multiple layers of 8 oz. cotton duck impregnated and bound with high-quality natural rubber or equivalent.  Bearing pads shall be designed to produce the specified thickness, after compression and vulcanizing, sufficient to withstand compression loads in accordance with the specified design method’s governing section for bearing design.

(  Elastomeric and laminated elastomeric bearing pads shall be custom molded from neoprene or natural rubber.  Laminated pads shall be reinforced with internal steel plates and vulcanize-bonded to alternating layers of the elastomer during the molding process.

  - Expansion Joints: This item consists of furnishing and installing expansion joints in accordance with the Contract Documents, this specification, and the manufacturer’s recommendations.  If none is previously determined, the following suggested specifications are offered for inclusion into the project:

(  Armored sliding joint comprised of a deck attached steel angle or plate, sliding over a steel angle embedded into the concrete backwall construction with headed studs.  Armored joints shall be hot dip galvanized as per ASTM A123 and detailed in the construction plans.

(  Armored strip seal or compression seal expansion joints shall be armored using a deck attached steel angle and a steel angle embedded into the concrete backwall with headed studs.  The seal gland shall be a flexible, non-reinforced and extruded from neoprene (polycholoroprene) compounds which satisfy the ASTM standard specification D3542 for Preformed Polychloroprene Elastic Joint Seals for Bridges.  Steel extrusions for strip seals shall be ASTM A588 or A36 steel as per the manufacturer.  Armored strip or compression seal joints shall be detailed in the construction plans.  Approved products include:

- Strip Seals - Wabo®StripSeal by Watson Bowman Acme Corp. or Steelflex® Strip Seal Expansion Joint Systems by D.S. Brown Company.

- Compression Seals - Wabo®CompressionSeal Bridge Series by Watson Bowman Acme Corp. or Delastic® Preformed Compression Seals by D.S. Brown Company.

(  Armorless asphalt expansion joints shall be manufactured or sold as a one piece monolithic asphaltic plug joint capable of providing a flexible yet smooth bridging joint between superstructure and approach pavements.  Approved products include:

- Wabo®Expandex by Watson Bowman Acme Corp.

- Matrix™ 502 Asphaltic Expansion Joint by D.S. Brown Company.

- Thorma-Joint by Dynamic Surface Applications, Ltd.

  - Floor or Deck System:  The flooring or deck system shall be provided as designated in the Contract Documents and as specified below.    [Specifier note: Many options exist for a flooring or deck system for the Bridge.  The Contract Documents and/or these specifications should indicate if the bridge flooring is to be supplied with the bridge components.]

    - Corrugated Steel Flooring:  The structural bridge flooring shall be domestically produced, hot dip galvanized, 3" x 9" corrugated steel bridge decking as supplied by Superior Steel Corp, Cambridge, Ohio (888)-872-7434.  The bridge flooring material shall be designated as ASTM A 1011-SS-Grade 50. (3, 5, and 7 gage thicknesses available).  The bridge flooring shall be hot dip galvanized as per ASTM A123.  The bridge decking panels shall have an 18" laying width and the length shall be equal to the full roadway width.  The panels shall be designed for field attachment to stringers in one of two ways:

      - Weld-Down Attachment Option:  Each decking panel shall be punched prior to galvanizing to provide weld-attachment holes in the valley of each corrugation where it intersects the centerline of each stringer beam.  There will be additional holes punched in the valleys of each corrugation at the outer quarter points between stringers. Galvanized edge dam plates to retain asphalt or concrete shall be provided for field attachment by welding to the bridge decking.  The 3/16” thick edge dam plates shall be provided in 12’-0” lengths.

      - Bolt - Down Attachment Option:  Each decking panel shall be punched prior to galvanizing to provide holes in the valleys of each corrugation.  There will be additional holes punched in the valleys of each corrugation at the center points between stringers.  A bolt and clip assembly shall be provided for attaching the decking to the bridge stringers.  The assemblies shall be spaced at the designated interval on alternating sides of each stringer for its full length.    Galvanized edge dam plates to retain the asphalt or concrete shall be provided for field attachment by an angle clip and bolt assembly.  The 3/16” thick edge dam plates shall be provided in 12’-0” lengths.

    - Nail Laminated Timber Floor:  Nail laminated timber floor shall be Southern Yellow Pine, Grade Number 2 or better, CCA Treated 0.4 lbs penetration, in either 3” x 4” or 3” x 6” nominal wood sizes (long side vertical).  Nail laminated timber deck shall be supplied for field installation to the stringer beams.  Steel clips shall be supplied to field attach the nailed strips to the stringer.

    - Timber Plank Floor:  Timber plank flooring shall be ___”x___” nominally dressed made from Dense No. Select Southern Pine treated with Pentachlorophenol preservatives that conform to the American Wood Preservers Association (AWPA) use category UC4C.

    - Stay-in-Place Forms for Concrete Decks:  The Stay-in-Place (SIP) corrugated metal decking forms shall have a minimum depth of 2”, Type 8.5P, as supplied by Wheeling Corrugated.  The minimum thickness shall be 20 gage and shall have G165 Galvanized Coating.  The minimum laying width per sheet of decking shall be 34”. The SIP forms shall be supported by support angles “field welded” to the stringer beams.  SIP form shall be attached to support angles using self-tapping screws approved by the SIP manufacturer. [Specifier note: The structural design and reinforcing steel layout for the concrete deck is the responsibility of the Owner, unless otherwise stipulated above in Section 4, herein.]

    - Open Grid Steel Deck:  The Open Grid Decking shall be 5” deep (nominal) made from 5 3/16” rolled main bars spaced at 8” on center, ¼” x 2” interlocking cross bars at 4” on center and 5/16” x 1” supplemental bars evenly spaced between main bars.  Panels shall be fabricated for the full roadway width and designed for field-welded attachment to stringers.  The top of the decking is to be serrated as per BGFMA industry standards.  Flooring to be fabricated using ASTM A709 Grade 50 steel and will be hot dip galvanized as per ASTM A123.  Attachment details shall be shown in the Grid Manufacturer’s installation drawings.

    - IPE Hardwood Flooring (for bridge sidewalks):  Wood flooring shall be naturally durable Hardwood IPE.  All planks shall be partially air dried to a moisture content of 15% to 20% and shall be supplied S4S (Surfaced Four Sides), E4E (Eased Four Edges) to a radius of 1/8”. Measured at 30% moisture content, the width and thickness shall not vary from specified dimensions more than 0.04 inches more or less.  All planks shall be supplied with an aqueous wax log sealer.

  - Waterproofing: The waterproofing membrane shall be a high strength rubberized geo-composite, sheet type, self–adhering waterproofing membrane with woven reinforcing fabric and shall be installed per the manufacturer’s recommendations, above the paving fill layer and beneath subsequent paving layers as shown in the Engineering Drawings.  Approved products include:

•	PavePrep SA by Crafco, Inc.

•	Polyguard 665 Membrane by Polyguard Products

•	Polyguard 1100 Membrane by Polyguard Products (Ohio Projects)

  - Asphalt Paving:  Asphalt paving shall be constructed by the Contractor in layers as detailed in the Engineering Drawings Specifier provide additional specification here [and as required by _______________].  Use of Reclaimed Asphalt Concrete Pavement shall be approved by the Owner before paving operations begin.  Use self-contained spreading equipment of sufficient size, power, and stability to receive, distribute, and strike-off the asphalt concrete at the widths meeting the transverse sections shown in the Engineering Drawings. Fill courses shall be compacted using self-propelled, pneumatic-tired rollers with vertical oscillation.  Intermediate and finish courses shall be compacted using three-wheel steel rollers.  Provide rolls and wheels with the necessary accessories to prevent adhesion of the mixture, and keep them properly moistened with water, water containing a detergent, or water containing an approved additive.  Do not use excess liquid.

  - Concrete Deck Slab:  The concrete deck slab shall be constructed by the Contractor Specifier reference additional specification here [and as required by _______________].  Concrete and reinforcing steel materials and strengths shall be noted in the Engineering Drawings.  Concrete shall be formed, mixed, placed, consolidated, finished and cured in accordance with the Owner’s specification referenced in the Engineering Drawings and as approved by the Owner in the field.  Concrete shall not be placed until the forms and reinforcing steel have been inspected by the Owner.

- MANUFACTURING AND QUALITY CONTROL

  - Certification Manual:  A current copy of the AISC Program Manual describing the Bridge Manufacturer’s operations and practices shall be maintained by the quality Control Manager for review by designated quality control inspectors.  Copies of the AISC Certification Manual shall be made available to customers and their representatives, upon requests.

  - Cleaning and Surface Preparation:  Steel that is to be fabricated shall be cleaned by solvent or hand tools, or shot blasted, as needed to clean and remove rust and mill scale that might impede accuracy of fit-up or quality of fabrication prior to processing.  Weathering steel shall be blasted to provide a uniform surface appearance.  Steel to be galvanized shall be prepared in accordance with the galvanizers recommendations.  Steel that is to be painted shall follow the Contract Documents and paint manufacturer’s recommendations and as specified below.

  - Cambering:  The Bridge shall be cambered in accordance with the Contract Documents and the design computations to offset the predicted total dead load deflection and to accommodate the profile grade indicated in the Contract Documents.  Mechanical (cold) cambering may be used where permitted by the applicable construction specifications and the Owner’s customary practices.  Heat cambering by experienced workers may be employed, as an optional method.

  - Welding:  All welding shall conform to the AASHTO/AWS D1.5 Bridge Welding Code.  Welding of tubular connections is covered in the AWS D1.1 Welding Code.  All welding shall utilize E70 or E80 series electrodes.  The weld process used shall be Flux Core Arc Welding (FCAW) or Shielded Manual Arc Welding (SMAW) per ANSI/AASHTO/AWS D1.5 “Bridge Welding Code.”  Welding operators shall be properly accredited and experienced.  Qualifications of welders shall be made available upon request.

  - Plate & Shape Cutting:  Plate and shape cutting shall conform to methods specified in AASHTO/AWS D1.5 Bridge Welding Code Section 3 Workmanship.  Computer Numerically Controlled (CNC) cutting equipment shall be utilized as a manufacturing method as it allows for highly accurate dimensional cutting along with precise and rapid shop operations.  Exceptions to CNC processing should be submitted in writing to the owner for approval, prior to commencing fabrication.

  - Bolt Holes:  All bolt hole fabrication for high strength, slip critical bolted connections shall conform to the workmanship requirements of the Research Council on Structural Connections (RCSC) Specifications for Structural Joint Using A325 or A490 Bolts.  Computer Numerically Controlled (CNC) drilling equipment shall be utilized as a   manufacturing method as it allows for highly accurate hole location along with precise and rapid shop operations.  Exceptions to CNC processing should be submitted in writing to the owner for approval, prior to commencing fabrication.

  - Bolting:  (Specifier define, select or delete these sections) All shop and field bolting shall comply with the AASHTO Construction Specifications, Section 11 and the Research Council on Structural Connections (RCSC) Specifications for Structural Joints Using A325 or A490 Bolts. Nuts shall be ASTM A563 grade DH and washers shall be ASTM F436, of corresponding finish.  Shop and field bolts shall be tightened using the Turn-of-Nut Installation Method (AASHTO 11.5.6.4.4 or RCSC 8.2.1); or by a tension controlled (TC) wrench and bolt system (ASTM F1852); or by use of Direct Tension Indicating (DTI) washers.

(  A325 Type I Hex Head (Mechanically Galvanized, ASTM B695)

(  A325 Type I Hex Head (Hot-Dip Galvanized, ASTM A153)

(  A325 Type III Hex Head (Weathering Steel)

(  A325 Type TC Round Head (Mechanically Galvanized, ASTM B695)

(  DTI Washers (ASTM F959)

| A325 Hex Head & Nut | A325 Tension Control | DTI Washer |
| --- | --- | --- |

  - Galvanized Steel Components:  Fabricated truss elements and bolted beam connections shall be individually hot dip galvanized prior to assembly to ensure corrosion protection has been achieved between assembled elements and within truss joint plies.  The only exception to this shall be floor beam end-plate assemblies which, if welded, shall require supplemental seal welds to prevent pickling acid leakage after galvanizing.

All hot-dip galvanizing shall be in accordance with ASTM A-123.  Damage to hot dip galvanized coatings resulting from welding, handling, or other factors shall be repaired in accordance with ASTM Standard Practice A-780.  All bolts and fasteners shall be galvanized in accordance with ASTM specification A-153.  The steel galvanizer of the bridge elements (other than bridge flooring) shall be a member of the American Galvanizer’s Association and shall provide the Bridge Owner a written limited warranty against corrosion of the superstructure components for a period of not less than 35 years.

  - Shop Assembly: Shop assembly shall conform to AASHTO Construction Specifications and AASHTO/NSBA S2.1 Guide Specifications.   For bridges such as trusses, the Manufacturer shall shop assemble the entire span, to conform to the camber and blocking requirements shown in the Engineering Drawings in an unloaded, laydown process.  If the span is too long for a complete shop assembly, the Manufacturer shall check-assemble a minimum of three adjacent shippable units of the bridge, in a sequential manner, to ensure that an accurate fit-up of assemblies are possible in the field.  Complex framing members such as skewed floor beams shall also be check -assembled in the shop, to ensure geometric accuracy and fit-up has been achieved.  Stringers beams, transverse bracing and accessory pieces are not required to be check-assembled to their primary members unless specified in the Contract Documents.

  - Shop Inspection:  Each Bridge shall be inspected by a qualified shop inspector.  For all welded assemblies the inspector shall be a Certified Weld Inspector that is qualified under the AWS QC-1 program.  Each inspection shall include as a minimum requirement the following:  review of Shop Drawings, weld procedures, welder qualifications and weld testing reports, visual inspection of welds and verification of overall dimensions and geometry of the Bridge.  Non destructive testing of welds shall be performed both prior to and after galvanizing.  All welds shall be visually inspected 100%.  All welds shall be magnetic particle tested for a minimum length or 12“.  Welds over 12” long shall be magnetic particle tested at least 12” for every 10’ of length.  A report of these inspections shall be provided.

  - Surface Preparation for Painting:  Components to be painted shall be abrasive blast cleaned as a minimum to the standard SSPC-SP10, Near White Blast Finish.  Additional blast cleaning may be required if the resulting blast profile does not comply with the specific paint requirements.  The first coat of paint is to be applied to the steel within 24 hours of being blasted.  A Quality Control Inspector trained and certified in paint inspection shall inspect the material for conformance to the contract requirements.

  - Shop Painting:  All painting shall be performed in an enclosed structure that is temperature controlled.  The paint system shall be suitable for the intended use and as recommended by the paint manufacturer and approved by the Owner.  Application shall be in accordance with the recommendations of the paint manufacturer.  The color of the finish coat shall be specified by the Owner at the time of the shop drawing approval.  The specified paint system will be applied by brush, roller, or air-less spray methods unless otherwise recommended by the paint manufacturer.  Touch up paint of the same color and by the same manufacturer shall be provided to the contractor to cover areas where the coating has been damaged during the assembly and installation process or if required for final inspection.

  - Painted Structural Steel: (Specifier define, select or delete these sections) The paint system shall be a three coat Organic Zinc Primer/Epoxy Intermediate/Aliphatic Urethane Finish system*.  An alternate system composed of a two coat Epoxy Prime/Aliphatic Urethane Finish system may also be selected if approved by the Owner.  The final selected system shall be listed in the Contract Documents.  If no paint system is specified, the three coat paint system listed below and manufactured by Sherwin Williams Company shall be used:

(  Three Coat System:

- Primer: Zinc Clad DOT Inorganic Zinc Primer (3-5 mils)

- Intermediate: Macropoxy 646 Fat Cure Epoxy (3-10 mils)

- Top Coat: Acrolon 218 HS Acrylic Polyurethane (3-6 mils)

(  Two Coat System:

- Primer: Macropoxy 646 Fat Cure Epoxy (5-10 mils)

- Top Coat: Acrolon 218 HS Acrylic Polyurethane (3-6 mils)

Color and finish (gloss) selections will be as listed in the Contract Documents or as directed by the Owner.  The instructions for mixing, application and cleanup published by the paint manufacturer shall be used to determine mixing and thinning requirements, application procedures, drying times, and handling requirements for the painted components unless otherwise specified

______

*-Paint systems listed in the NEPCOAT Qualified Products List B made by International Paint, Inc., Carboline Company, ICI Paints/Devoe Coatings, MAB Paints, Ameron International and PPG Industries and are considered approved equals.

  - Paint over Galvanized Steel Components:  The paint system shall be a duplex system as listed in the Contract Documents.  If no paint system is specified the paint system listed below and manufactured by International Protective Coatings** shall be used:

- Primer: Macropoxy 646 Fat Cure Epoxy (5-10 mils)

- Top Coat: Acrolon 218 HS Acrylic Polyurethane (3-6 mils)

Color selections will be as listed in the Contract Documents or as directed by the Bridge Owner.  The instructions for mixing, application and cleanup published by the paint manufacturer shall be used to determine mixing and thinning requirements, application procedures, drying times, and handling requirements for the painted components unless otherwise specified.

______

** Duplex paint systems made by Sherwin Williams Company or Carboline Company are considered approved equals.

  - Paint Inspection:  The Bridge Manufacturer’s Quality Control Department shall monitor the environmental conditions to ensure that the paint system is properly applied.  The Quality Control Department shall also obtain dry film thickness measurements to ensure that the required minimum coating thickness has been achieved for each coat.

  - Material Certification:  The Manufacturer shall maintain a program to receive, inspect, record and trace materials used in the Bridge.  Material Test Reports shall be used to prove domesticity, and document chemistry and physical test records. Certificates of Conformance shall be used to document compliance with specifications.  Traceability shall be met by heat and lot numbers records from the producing mill or supplier.  This program shall be in evidence by the Manufacturer’s AISC Certification and a written copy found in the Manufacturer’s AISC Certification Manual.

  - Truss Assembly Records:  The Manufacturer shall complete and maintain a record of assembly for each truss bridge, documenting specific pieces, heat numbers and positions for truss girder members, in accordance with the Manufacturer’s AISC Certification Manual.

- SITE, DELIVERY & ERECTION

  - Owner responsibility:  The Owner shall procure all necessary information about the site and soil conditions.  The engineering design and construction of the Bridge abutments, piers and/or footings shall be the responsibility of the Owner.  Pertinent information related to the design and performance of the bridge superstructure shall be made available to the Bridge Manufacturer upon execution of the agreement.  The Owner/Contractor shall install the anchor bolts in accordance with the Bridge Manufacturer’s Engineering Drawings and recommendations.  All roadway approach work and paving of the Bridge’s roadway shall be the responsibility of the Owner/Contractor.  All electrical grounding and lightning protection shall be the responsibility of the Owner/Contractor.

  - Delivery:  Delivery of the Bridge will be within an agreed period of time after approval of Engineering Drawings (_____ weeks).  Bearing plates, anchor bolts and expansion joints can be furnished in advance of the Bridge for incorporation into the abutment construction, upon receipt of a timely request by the Contractor.  Delivery of the bridge shall be coordinated between the Manufacturer or their Supplier and the Contractor.  The Supplier shall communicate this information to the Manufacturer depending on the agreement and subsequent responsibilities.

  - Erection:  The Manufacturer will advise the Owner/Contractor of the attachment points and other necessary information required to install the bridge.  The method and sequence of erection shall be the responsibility of the Owner/Contractor unless otherwise included in the agreement.  Unloading, stabilization, splicing, bolting, and proper rigging and lifting are the responsibility of the Owner/Contractor.

  - Field Painting:  For painted bridges, field assembled connections will require field painting of the joined members.  Joined faces (faying surfaces) will be shop primed but be masked off for subsequent coats.  The masking will be stepped back to reveal the prime and intermediate coats.  The contractor shall complete field painting of these joints and connections with paint that matches the shop applied coatings in accordance with the plans and manufacturer’s recommendations.  Field painting shall be completed after the bridge has been erected and set.  Final acceptance of the field painting shall be by the Owner.

  - Touch-Up Painting: Touch-up painting shall be performed on areas that have been damaged or marred during unloading and installation at the bridge site.  These may include but are not limited to scratches, scuffs, tears, or loss of finish through any coating layer.  The contractor shall use care and protect painted pieces and assemblies during unloading, staging, field assembly and final erection.  The contractor is responsible for making repairs to the paint coatings under this item and shall coordinate this work with the required field painting described in Section 7.4.

- TECHNICAL ASSISTANCE

  - The successful bidder through the Manufacturer and/or Supplier shall provide a qualified Technical Assistant at the jobsite while the primary structure components are installed.  The Contractor shall notify the Manufacturer or their representative at least two weeks in advance of the planned installation.  The Technical Assistant shall have at least five (5) years experience in the installation of similar bridges.